## COMPACT LEARNING
Section | Paper / Method | System / Case | Metric | Value | Notes
COMPACT LEARNING | COMPACT LEARNING | 300_ieee | Optimality gap | 0.1859 ± 0.0079 % | Before PF post-processing; bold in paper
COMPACT LEARNING | PLAIN-LARGE | 300_ieee | Optimality gap | 0.1804 ± 0.0087 %
COMPACT LEARNING | PLAIN-SMALL | 300_ieee | Optimality gap | 0.9886 ± 0.0287 %
COMPACT LEARNING | COMPACT LEARNING | 300_ieee | Max violation (p.u.) | 0.5509 ± 0.0025 | bold in paper
COMPACT LEARNING | PLAIN-LARGE | 300_ieee | Max violation (p.u.) | 0.9256 ± 0.0117
COMPACT LEARNING | PLAIN-SMALL | 300_ieee | Max violation (p.u.) | 3.7282 ± 0.0758
COMPACT LEARNING | COMPACT LEARNING | 1354_pegase | Optimality gap | 0.0942 ± 0.0089 % | bold in paper
COMPACT LEARNING | PLAIN-LARGE | 1354_pegase | Optimality gap | 0.0711 ± 0.0094 %
COMPACT LEARNING | PLAIN-SMALL | 1354_pegase | Optimality gap | 0.1494 ± 0.0142 %
COMPACT LEARNING | COMPACT LEARNING | 1354_pegase | Max violation (p.u.) | 0.5044 ± 0.0081 | bold in paper
COMPACT LEARNING | PLAIN-LARGE | 1354_pegase | Max violation (p.u.) | 3.0360 ± 0.1221
COMPACT LEARNING | PLAIN-SMALL | 1354_pegase | Max violation (p.u.) | 6.6858 ± 0.1248
COMPACT LEARNING | COMPACT LEARNING | 9241_pegase | Optimality gap | 0.1344 ± 0.0097 % | bold in paper
COMPACT LEARNING | PLAIN-SMALL | 9241_pegase | Optimality gap | 0.1521 ± 0.0138 %
COMPACT LEARNING | COMPACT LEARNING | 9241_pegase | Max violation (p.u.) | 1.1791 ± 0.0725 | bold in paper
COMPACT LEARNING | PLAIN-SMALL | 9241_pegase | Max violation (p.u.) | 6.7379 ± 0.1980
COMPACT LEARNING | COMPACT LEARNING | 30000_goc | Optimality gap | 0.1091 ± 0.0112 % | bold in paper
COMPACT LEARNING | PLAIN-SMALL | 30000_goc | Optimality gap | 0.2296 ± 0.0224 %
COMPACT LEARNING | COMPACT LEARNING | 30000_goc | Max violation (p.u.) | 0.0770 ± 0.0188 | bold in paper
COMPACT LEARNING | PLAIN-SMALL | 30000_goc | Max violation (p.u.) | 4.7172 ± 0.0678
COMPACT LEARNING | COMPACT LEARNING | France_2018 | Optimality gap | 1.2869 ± 0.0845 % | bold in paper
COMPACT LEARNING | PLAIN-SMALL | France_2018 | Optimality gap | 1.4872 ± 0.1352 %
COMPACT LEARNING | COMPACT LEARNING | France_2018 | Max violation (p.u.) | 2.1041 ± 0.2218 | bold in paper
COMPACT LEARNING | PLAIN-SMALL | France_2018 | Max violation (p.u.) | 47.4012 ± 3.4524
COMPACT LEARNING | COMPACT LEARNING (PF) | 4917_goc | Gen/Volt viol. (p.u.) | 0.0739 | Eq.(3a–4) sat. 99.88% (bold in paper)
COMPACT LEARNING | PLAIN-SMALL (PF) | 4917_goc | Gen/Volt viol. (p.u.) | 0.1148 | Eq.(3a–4) sat. 99.77%
COMPACT LEARNING | COMPACT LEARNING (PF) | 4917_goc | Thermal viol. (MVA) | 2.3134 | Eq.(7) sat. 99.50% (bold in paper)
COMPACT LEARNING | PLAIN-SMALL (PF) | 4917_goc | Thermal viol. (MVA) | 13.5821 | Eq.(7) sat. 99.47%
COMPACT LEARNING | COMPACT LEARNING (PF) | 13659_pegase | Gen/Volt viol. (p.u.) | 0.0852 | Eq.(3a–4) sat. 99.97% (bold in paper)
COMPACT LEARNING | PLAIN-SMALL (PF) | 13659_pegase | Gen/Volt viol. (p.u.) | 0.2192 | Eq.(3a–4) sat. 99.85%
COMPACT LEARNING | COMPACT LEARNING (PF) | 13659_pegase | Thermal viol. (MVA) | 3.1203 | Eq.(7) sat. 100% (bold in paper)
COMPACT LEARNING | PLAIN-SMALL (PF) | 13659_pegase | Thermal viol. (MVA) | 14.5279 | Eq.(7) sat. 99.99%

## Classic ANN
Section | Paper / Method | System / Case | Metric | Value | Notes
Classic ANN | Classic ANN (DNN) | IEEE 14 (Bus 1) | ¦V¦ deviation | 0.023% | observed in 100% tests
Classic ANN | Classic ANN (DNN) | IEEE 30 (Bus 29) | ¦V¦ deviation | 0.27% | observed in 8.8% tests
Classic ANN | Classic ANN (DNN) | IEEE 14/30 | Avg. cost dev. | nearly equivalent | vs interior point solver

## DE-OP (Stability Constrained)
Section | Paper / Method | System / Case | Metric | Value | Notes
DE-OP (Stability Constrained) | DE-OP (Neural-SDE) | IEEE 57 | Stability violation | 0.00% | bold in paper
DE-OP (Stability Constrained) | DE-OP (Neural-SDE) | IEEE 57 | Flow / Boundary viol. | 9.15e-3 / 2.5e-5 | Mean ± std given
DE-OP (Stability Constrained) | DE-OP (Neural-SDE) | IEEE 57 | Optimality gap* (steady-state) | 0.22% | *not dynamic gap
DE-OP (Stability Constrained) | Static baselines (MSE/LD/DC3) | IEEE 57 | Flow / Boundary viol. | 23.3e-3 / 12.65e-4 (MSE); DC3 boundary 0; opt gap 0.16%
DE-OP (Stability Constrained) | DE-OP, Static baselines | WSCC 9, IEEE 57 | Decision MSE (scaled) | Listed | p_r,q_r,¦V¦,θ tables provided

## DeepOPF (PR2) and Baselines
Section | Paper / Method | System / Case | Metric | Value | Notes
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 30 | Feasibility (pre-recovery) | 100% | Uniformly sampled loads
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 30 | Avg. cost diff | <0.1% | vs. Pypower
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 30 | Avg. speedup | 24×
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 30 | Feasibility (pre-recovery) | 42%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 30 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 30 | Avg. speedup | 12×
DeepOPF (PR2) and Baselines | DNN-W (warm-start) | IEEE 30 | Feasibility (pre-recovery) | 100%
DeepOPF (PR2) and Baselines | DNN-W (warm-start) | IEEE 30 | Avg. cost diff | 0%
DeepOPF (PR2) and Baselines | DNN-W (warm-start) | IEEE 30 | Avg. speedup | 1.1×
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 118 | Feasibility (pre-recovery) | 100%
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 118 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 118 | Avg. speedup | 22×
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 118 | Feasibility (pre-recovery) | 22%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 118 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 118 | Avg. speedup | 4.2×
DeepOPF (PR2) and Baselines | DNN-W (warm-start) | IEEE 118 | Feasibility (pre-recovery) | 100%
DeepOPF (PR2) and Baselines | DNN-W (warm-start) | IEEE 118 | Avg. cost diff | 0%
DeepOPF (PR2) and Baselines | DNN-W (warm-start) | IEEE 118 | Avg. speedup | 1.3×
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 300 | Feasibility (pre-recovery) | 99%
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 300 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | IEEE 300 | Avg. speedup | 20×
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 300 | Feasibility (pre-recovery) | 21%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 300 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | IEEE 300 | Avg. speedup | 5.4×
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | 2000-bus | Feasibility (pre-recovery) | 99%
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | 2000-bus | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DeepOPF (PR2) | 2000-bus | Avg. speedup | 123×
DeepOPF (PR2) and Baselines | DNN-E (baseline) | 2000-bus | Feasibility (pre-recovery) | 29%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | 2000-bus | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DNN-E (baseline) | 2000-bus | Avg. speedup | 24×
DeepOPF (PR2) and Baselines | DeepOPF-IF | IEEE 118 | Feasibility (pre-recovery) | 95% | w1=1 (default)
DeepOPF (PR2) and Baselines | DeepOPF-ZO | IEEE 118 | Feasibility (pre-recovery) | 100%
DeepOPF (PR2) and Baselines | DeepOPF-IF | IEEE 118 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DeepOPF-ZO | IEEE 118 | Avg. cost diff | <0.1%
DeepOPF (PR2) and Baselines | DeepOPF-IF | IEEE 118 | Avg. speedup | 21×
DeepOPF (PR2) and Baselines | DeepOPF-ZO | IEEE 118 | Avg. speedup | 22×
DeepOPF (PR2) and Baselines | DeepOPF (weights V1) | IEEE 118 | w2 | 1.0 | w1=1
DeepOPF (PR2) and Baselines | DeepOPF (weights V1) | IEEE 118 | Feasibility (pre-recovery) | 100%
DeepOPF (PR2) and Baselines | DeepOPF (weights V1) | IEEE 118 | Cost diff | 1.5%
DeepOPF (PR2) and Baselines | DeepOPF (weights V2) | IEEE 118 | w2 | 0.1
DeepOPF (PR2) and Baselines | DeepOPF (weights V2) | IEEE 118 | Feasibility (pre-recovery) | 100%
DeepOPF (PR2) and Baselines | DeepOPF (weights V2) | IEEE 118 | Cost diff | <0.1%

## DeepOPF-AL vs DeepOPF-V
Section | Paper / Method | System / Case | Metric | Value | Notes
DeepOPF-AL vs DeepOPF-V | DeepOPF-AL | IEEE 39 (Bal.) | η_opt | 0.48% | bold in paper
DeepOPF-AL vs DeepOPF-V | DeepOPF-V | IEEE 39 (Bal.) | η_opt | -8.56% | negative means slightly better than reference cost
DeepOPF-AL vs DeepOPF-V | DeepOPF-AL | IEEE 39 (Bal.) | η_PG, η_QG, η_Sl | 97.5%, 94.6%, 99.9%
DeepOPF-AL vs DeepOPF-V | DeepOPF-V | IEEE 39 (Bal.) | η_PG, η_QG, η_Sl | 99.3%, 91.7%, 100%
DeepOPF-AL vs DeepOPF-V | DeepOPF-AL | IEEE 39 (Bal.) | η_PD, η_QD | 0.19%, 6.47% | mismatch percentages (bold in paper)
DeepOPF-AL vs DeepOPF-V | DeepOPF-V | IEEE 39 (Bal.) | η_PD, η_QD | 0.61%, 27.6%
DeepOPF-AL vs DeepOPF-V | DeepOPF-AL | IEEE 39 (Unbal.) | η_opt | 0.66% | bold in paper
DeepOPF-AL vs DeepOPF-V | DeepOPF-V | IEEE 39 (Unbal.) | η_opt | -5.98%
DeepOPF-AL vs DeepOPF-V | DeepOPF-AL | IEEE 39 (Unbal.) | η_PG, η_QG, η_Sl | 97.4%, 98.4%, 99.9% | η_QG bold in paper
DeepOPF-AL vs DeepOPF-V | DeepOPF-V | IEEE 39 (Unbal.) | η_PG, η_QG, η_Sl | 99.8%, 96.7%, 100%
DeepOPF-AL vs DeepOPF-V | DeepOPF-AL | IEEE 39 (Unbal.) | η_PD, η_QD | 0.09%, 0.49% | bold in paper
DeepOPF-AL vs DeepOPF-V | DeepOPF-V | IEEE 39 (Unbal.) | η_PD, η_QD | 0.32%, 12.9%

## DeepOPF-FT
Section | Paper / Method | System / Case | Metric | Value | Notes
DeepOPF-FT | DeepOPF-FT | IEEE 57 | η_opt | 0.14% | vs discrete baselines (bold in paper)
DeepOPF-FT | DeepOPF-FT | IEEE 57 | η_pg,η_qg,η_sl,η_pd,η_qd | 95.0%, 96.0%, >99.9%, 97.2%, 94.3%
DeepOPF-FT | DIS baselines | IEEE 57 | η_opt | -4.79% to 1.07% | four settings (50k/150k)
DeepOPF-FT | DIS baselines | IEEE 57 | η_pg,η_qg | 93.3–97.0%, 92.4–96.3% | >99.9% branch sat.
DeepOPF-FT | DeepOPF-FT | 2000-bus (N) | η_opt | 0.02% | vs DeepOPF-V single-topology (bold in paper)
DeepOPF-FT | DeepOPF-FT | 2000-bus (N) | η_pg,η_qg,η_sl | >99.9%, 99.9%, >99.9% | η_pd=98.9%, η_qd=95.9%
DeepOPF-FT | DeepOPF-V (N) | 2000-bus | η_opt | 0.28% | η_pd=99.4%, η_qd=96.1%
DeepOPF-FT | DeepOPF-V (N-1) | 2000-bus | η_opt | 0.27% | η_pd=99.4%, η_qd=96.1%

## DeepOPF-U vs DeepOPF-V
Section | Paper / Method | System / Case | Metric | Value | Notes
DeepOPF-U vs DeepOPF-V | DeepOPF-U | Case57/118/300 | η_opt | 0.44% / 0.35% / 0.60%
DeepOPF-U vs DeepOPF-V | DeepOPF-V | Case57/118/300 | η_opt | 0.31% / 0.32% / 0.43% | bold in paper
DeepOPF-U vs DeepOPF-V | DeepOPF-U | Case57/118/300 | η_V,η_Pg,η_Qg,η_Sl | 100, 100/99.64/99.80, 99.85/99.92/99.87, 100
DeepOPF-U vs DeepOPF-V | DeepOPF-U | Case57/118/300 | η_Pd,η_Qd | 99.67/99.74/99.54, 99.63/99.70/99.47
DeepOPF-U vs DeepOPF-V | DeepOPF-V | Case57/118/300 | η_V,η_Pg,η_Qg,η_Sl | 100, 100/99.64/99.80, 99.86/99.91/99.85, 100
DeepOPF-U vs DeepOPF-V | DeepOPF-V | Case57/118/300 | η_Pd,η_Qd | 99.77/99.76/99.67, 99.67/99.75/99.63

## Generic Proxies (FSNet, DC3, Πn
Section | Paper / Method | System / Case | Metric | Value | Notes
Generic Proxies (FSNet, DC3, Πnet) | FSNet vs baselines | QP (smooth) | Opt. gap (%) | 0.121 ± 0.038 | Penalty: -0.029; DC3: -0.035
Generic Proxies (FSNet, DC3, Πnet) | FSNet vs baselines | QP (smooth) | ¦¦h¦¦_1, ¦¦g^+¦¦_1 | 1.3e-4, 1.6e-6 | DC3 ¦¦h¦¦_1 ≈ 5e-13
Generic Proxies (FSNet, DC3, Πnet) | FSNet vs baselines | SOCP (smooth) | Opt. gap (%) | 0.049 ± 3.4e-3 | DC3: 0.053
Generic Proxies (FSNet, DC3, Πnet) | FSNet vs baselines | SOCP (smooth) | ¦¦h¦¦_1, ¦¦g^+¦¦_1 | 0.064, 0.011 | DC3 ¦¦h¦¦_1 ≈ 7.8e-14
Generic Proxies (FSNet, DC3, Πnet) | FSNet (non-convex) | QP/QCQP | Max/median violations | listed | e.g., max ¦¦h¦¦_1 1.4e-3 (QP)
Generic Proxies (FSNet, DC3, Πnet) | Πnet vs DC3 | Non-convex (small) | Median RS / CV | ~1e-3 / ~1e-14 | DC3 ~1e-1 / 1e-4
Generic Proxies (FSNet, DC3, Πnet) | Πnet vs DC3 | Non-convex (large) | Median RS / CV | ~1e-3 / ~1e-12 | DC3 ~1e-1 / 1e-2
Generic Proxies (FSNet, DC3, Πnet) | Πnet vs DC3 | Convex (small) | Median RS / CV | ~1e-4 / ~1e-14 | DC3 ~1e-2 / ~1e-14
Generic Proxies (FSNet, DC3, Πnet) | Targets (general) | Generic | Thresholds | CV ≤ 1e-5 | high-accuracy target

## Lagrange Multiplier Assisted SE
Section | Paper / Method | System / Case | Metric | Value | Notes
Lagrange Multiplier Assisted SELM | SELM (M4, proposed) | IEEE 39 | χ_PG, χ_QG, χ_V, χ_θ, χ_F (%) | 99.62, 99.57, 99.67, 99.82, 99.98 | thr: 2MW, 2MVA, 0.001 p.u., 0.2°, 100
Lagrange Multiplier Assisted SELM | DNN baselines (M1/M2) | IEEE 39 | χ_F (cost) (%) | 54.54 / 26.26 | others listed in text
Lagrange Multiplier Assisted SELM | SELM (M4, proposed) | IEEE 57 | χ_PG, χ_QG, χ_V, χ_θ, χ_F (%) | 98.37, 99.78, 99.87, 98.74, 99.96
Lagrange Multiplier Assisted SELM | SELM (M4, proposed) | IEEE 118 | χ_PG, χ_QG, χ_V, χ_θ, χ_F (%) | 99.86, 99.99, 99.94, 99.97, 96.02 | bold except χ_F

## Load Encoding
Section | Paper / Method | System / Case | Metric | Value | Notes
Load Encoding | Load Encoding (EF) | 14/30/118 | L1-loss (Pg,Qg) | 0.0026/0.0038/0.0032 | best vs None/EL
Load Encoding | No encoder / EL | 14/30/118 | L1-loss (Pg,Qg) | 0.0118/0.0033 ; 0.0124/0.0044 ; 0.0215/0.0036 | order: None/EL
Load Encoding | Load Encoding (EF) | 1394 / 3375wp | L1-loss (Pg,Qg) | 0.0044 / 0.0075 | large cases; strong reduction
Load Encoding | Load Encoding (EL/EF) | Large cases | Train loss (MSE) | ↓ 10× vs None | after 2500 epochs

## Meta-Learning (Topology Reconfi
Section | Paper / Method | System / Case | Metric | Value | Notes
Meta-Learning (Topology Reconfiguration) | Meta-Learning (MTL) | IEEE 118 | η1 (DNN loss) | 0.0105 → 0.0028 | Epoch 0 → 100; bold end value
Meta-Learning (Topology Reconfiguration) | Meta-Learning (MTL) | IEEE 118 | η2 (state accuracy) | 0.9372 → 0.9720 | Epoch 0 → 100; bold end value
Meta-Learning (Topology Reconfiguration) | Meta-Learning (MTL) | IEEE 118 | η3 (cost accuracy) | 0.9886 → 0.9950 | Epoch 0 → 100; bold end value
Meta-Learning (Topology Reconfiguration) | Feasibility rate | 14/30/118 | Learn/MTL/Pre1/Pre2 | 0.978/0.998/0.989/0.989 (14); similarly 30,118

## OPF-DNN (Lagrangian dual + hot
Section | Paper / Method | System / Case | Metric | Value | Notes
OPF-DNN (Lagrangian dual + hot start) | OPF-DNN (MB/MC/MCS/MLcs/MDcs) | IEEE 300 | pg/qg/v/θ/ṗ_f errors (%) | MB: 0.0838/0.0900/28.025/12.137/125.47; MC: 0.0914/0.0860/14.727/7.7450/34.133; MCS: 0.0174/0.0240/3.113/7.233/26.905; MLcs: 0.0139/0.0240/0.218/4.648/2.018; MDcs: 0.0126/0.0190/0.0610/2.567/1.136 | L1 distance; MDcs best
OPF-DNN (Lagrangian dual + hot start) | OPF-DNN (avg across cases) | Multiple | Avg. pg/v error (%) | DC: 0.7751 / 2.4284 vs MDcs: 0.0198 / 0.1996
OPF-DNN (Lagrangian dual + hot start) | OPF-DNN | Multiple | Violation degrees ν | Defined (2a–6b) | Voltage, angle, gen limits, branch, Ohm, KCL

## Optimization Learning (EDDCOPF
Section | Paper / Method | System / Case | Metric | Value | Notes
Optimization Learning (ED/DCOPF proxy) | E2ELR vs DNN/DeepOPF/DC3 | ieee300 (SL) | Mean opt. gap (%) | 1.52 vs 75.06/2.80/2.94 | bold for E2ELR in paper
Optimization Learning (ED/DCOPF proxy) | E2ELR vs DNN/DeepOPF/DC3 | pegase1k (SL) | Mean opt. gap (%) | 0.74 vs 47.84/7.50/2.97
Optimization Learning (ED/DCOPF proxy) | E2ELR vs DNN/DeepOPF/DC3 | rte6470 (SL) | Mean opt. gap (%) | 1.82 vs 70.57/46.66/3.49
Optimization Learning (ED/DCOPF proxy) | E2ELR vs DNN/DeepOPF/DC3 | ieee300 (SSL) | Mean opt. gap (%) | 0.78 vs 45.56/2.82/2.80
Optimization Learning (ED/DCOPF proxy) | E2ELR vs DNN/DeepOPF/DC3 | pegase1k (SSL) | Mean opt. gap (%) | 0.68 vs 64.69/9.83/2.61
Optimization Learning (ED/DCOPF proxy) | E2ELR vs DNN/DeepOPF/DC3 | goc30k (SSL) | Mean opt. gap (%) | 0.33 vs 93.91/9.47/0.71
Optimization Learning (ED/DCOPF proxy) | Power balance (feas.) | ieee300 (SL) | Feasible / Viol. (p.u.) | DeepOPF 100% / 0.06; DNN 0% / 0.70; DC3 100% / 0.25
Optimization Learning (ED/DCOPF proxy) | Power balance (feas.) | ieee300 (SSL) | Feasible / Viol. (p.u.) | DeepOPF 100% / 0.56; DNN 0% / 0.73; DC3 100% / 0.29
Optimization Learning (ED/DCOPF proxy) | Power balance (feas.) | pegase9k (SSL) | Feasible / Viol. (p.u.) | DC3 25% / 0.08; DeepOPF 3% / 7.87; DNN 0% / 7.00

## PDL-SCOPF (DC-SCOPF)
Section | Paper / Method | System / Case | Metric | Value | Notes
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 300_ieee | Max P-balance viol. (p.u.) | 0.000 | hard constraints (contingency); bold in paper
PDL-SCOPF (DC-SCOPF) | LD / Penalty (SL/SSL) | 300_ieee | Max P-balance viol. (p.u.) | 0.001 / 0.003
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 1354_peg | Max P-balance viol. (p.u.) | 0.000
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 4917_goc | Max P-balance viol. (p.u.) | 0.000
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 6515_rte | Max P-balance viol. (p.u.) | 0.000
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 300_ieee | % violated contingencies | 0.00% (0) | tol 1e-4; bold in paper
PDL-SCOPF (DC-SCOPF) | LD / Penalty (SL/SSL) | 300_ieee | % violated contingencies | 3.51% (2) / 3.51% (2)
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 1354_peg | % violated contingencies | 0.00% (0)
PDL-SCOPF (DC-SCOPF) | Naive / LD / Penalty | 1354_peg | % violated contingencies | 7.25% (14) / 2.07% (4) / 0.00% (0) | Penalty hits 0%
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 3022_goc | % violated contingencies | 0.00% (0)
PDL-SCOPF (DC-SCOPF) | Naive / LD | 3022_goc | % violated contingencies | 17.43% (57) / 3.98% (13)
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 6515_rte | % violated contingencies | 0.00% (0)
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 1354_peg | Mean optimality gap | 0.856% | bold in paper
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 6515_rte | Mean optimality gap | 0.815% | bold in paper
PDL-SCOPF (DC-SCOPF) | LD (SL) | 300_ieee | Mean optimality gap | 0.908% | better than Penalty 3.867%
PDL-SCOPF (DC-SCOPF) | PDL-SCOPF (SSL) | 1354_peg | Thermal slack (soft) | Smallest | vs Naive/LD/Penalty/Gurobi

## Physics-Informed Gradient Estim
Section | Paper / Method | System / Case | Metric | Value | Notes
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | IEEE 118 | l^v_max (× 10^-1) | 0.33/0.01/0.05/0.04/0.02/0.06 | MFCNN/MDC3/MDUAL/M0/M1/M4
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | IEEE 118 | l̄_v (× 10^-4) | 0.68/0.02/0.13/0.07/0.04/0.12
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | IEEE 118 | l_cost | 0.88/0.27/0.04/0.32/0.25/0.54
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 1354_pegase | l^v_max (× 10^-1) | 5.8/4.8/3.7/1.6/1.3/1.4 | bold value for M0 (1.6) in paper
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 1354_pegase | l̄_v (× 10^-4) | 8.6/2.3/3.0/0.63/0.44/0.44 | bold value for M0 (0.63) in paper
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 1354_pegase | l_cost | 0.98/0.76/0.80/0.05/0.05/0.06 | bold for M0 (0.05) in paper
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 2869_pegase | l^v_max (× 10^-1) | 4.5/3.6/1.8/1.3/1.3/1.4 | bold for M0 (1.3) in paper
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 2869_pegase | l̄_v (× 10^-4) | 4.2/1.4/1.9/0.40/0.31/0.30 | bold for M0 (0.40) in paper
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 2869_pegase | l_cost | 0.84/0.43/0.22/0.04/0.04/0.05 | bold for M0 (0.04) in paper
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 9241_pegase | l^v_max (× 10^-1) | —/—/—/2.2/2.0/2.0 | Only M0/M1/M4 reported; bold for M0 (2.2)
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 9241_pegase | l̄_v (× 10^-4) | —/—/—/0.69/0.52/0.53 | bold for M0 (0.69)
Physics-Informed Gradient Estimation (M0–M4) | Physics-Informed (M0–M4) | 9241_pegase | l_cost | —/—/—/0.06/0.06/0.06 | bold for M0 (0.06)

## TAS-97 (Realistic)
Section | Paper / Method | System / Case | Metric | Value | Notes
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | η_opt, η_fea | 2.89%, 94.10% | Synthetic (Uniform) → Realistic test
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | ΔPG, ΔQG, Δ¦V¦, ΔS (p.u.) | 0.014, 0.000, 0, 0
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | η_opt, η_fea | 0.16%, 94.99% | Synthetic (Normal)
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | ΔPG, ΔQG, Δ¦V¦, ΔS (p.u.) | 0.018, 0.001, 0, 0
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | η_opt, η_fea | 0.13%, 99.73% | Synthetic (MVN)
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | ΔPG, ΔQG, Δ¦V¦, ΔS (p.u.) | 0.0005, 0, 0, 0 | p.u.; slack dominates ΔPG
TAS-97 (Realistic) | DeepOPF (feas.-opt.) | TAS-97 | η_opt, η_fea | 2.58%, 94.73% | Realistic train/test (half test size)